EM2 2010-2011 AUDITION n°2

(Consignes : cf. Audition 1 - Heat from the street)

GEOTHERMAL HEAT PUMPS

GeoExchange heating and cooling systems (http://www.geoexchange.org/)

Transcript

Because the earth absorbs and stores much of the energy it receives from the sun as heat,

underground temperatures remain constant at a point between 42 and 80°F year round

depending on where you are in the United States.

A GeoExchange system can use this energy source

to economically heat and cool almost any kind of building,

heat water,

provide refrigeration and perform many other kinds of applications.

0:33   A GeoExchange system is made up of three components :

a heat pump, usually located inside the building,

where it’s protected from the environment and vandalism ;

an underground heat exchanger to act as a heat sink

to store energy in the earth when cooling

and to extract energy from the earth when heating ;

and a distribution system such as air ducts

or hydronic radiant floor tubing

to provide comfort control for the building space.

1:04   The two types of heat exchangers commonly used are open loop and closed loop.

A closed loop system uses a system of continuous underground pipe loops

in which both ends of the pipe system are connected to the heat pump,

thereby forming a sealed closed loop.

Water or a mixture of water and environmentally friendly anti-freeze

circulates through the loop to transfer heat

between the heat pump and the earth.

1:33   In some installations, the pipes of a closed loop system

can be placed in a horizontal trench

dug below the frost line.

The number of pipes in each trench

and the number of trenches needed

will vary depending on the size of the GeoExchange system being installed

and the type of soil found in the area.

1:53   To minimize trenching,

Slinky (™) coils - spring-like coils of polyethylene pipe -

can often be used to increase the pipes’ surface area

and thus the heat-exchange per foot of trench.

Another way to increase the heat-exchange rate of a closed loop system

is to take advantage of the naturally higher heat-transfer capability of water over soil or rock.

If a stream, river or pond of sufficient size is available

coils of heat-exchanger pipe can be installed on or near the bottom

to form a pond loop system.

2:30   In locations where space is limited

or a large heat exchanger is required,

the pipes of a closed loop GeoExchange system can be installed vertically

in wells drilled into the earth.

As with the horizontal and pond loop systems,

the number of loops and the depth of the wells needed in a vertical closed loop system

are determined by the size of the building,

system demands,

the ground temperature

and other variables.

2:59  Since it’s not necessary for the heat exchanger to be connected to the rest of the system above ground

whichever type is installed can be placed within existing landscaping :

under sidewalks, driveways and parking lots

or even beneath the building itself.

In an open loop system, on the other hand,

ground water from an aquifer is pumped through one well

and passes through the heat pump

where heat is added to or extracted from it.

The water is then discharged back to an aquifer

or harnessed for other water management uses.

Because the system’s water supply and discharge are not connected underground,

the loop is open. (3:42)

See also : http://apps1.eere.energy.gov/consumer/your_home/space_heating_cooling/index.cfm/mytopic=12650